## Sheet1
ITEM # | CSI DIV # | DESCRIPTION | QTY. | WASTAGE | QTY WITH WASTAGE | UNIT | UNIT COST | ITEM COST | TRADE COST
| DIV-02 | EXISTING CONDITIONS | [6 empty] | 27982.8663
DEMOLITION & REMOVALS
1 |  | 90.01:Remove Existing Wall | 53.3 | 0% | 53.3 | SF | 2.2 | 117.26
2 |  | 90.02:Remove Existing Door,Door Frame & Hardware | 1 | 0% | 1 | EA | 125 | 125
3 |  | 90.03:Remove Existing Section of Storefront | 596.0077 | 0% | 596.0077 | SF | 5.5 | 3278.0425
4 |  | 90.04:Remove Existing Storefront Door | 7 | 0% | 7 | EA | 150 | 1050
5 |  | 90.04:Remove Existing Storefront Double Door | 1 | 0% | 1 | EA | 200 | 200
6 |  | 90.05:Remove Existing Storefront from Slab to Beam.Remove Exisitng Section of Triangle Storefront above Beam to Roof | 714.488 | 0% | 714.488 | SF | 5.5 | 3929.6838
7 |  | 90.06:Remove Existing Overhead door & Frame | 4 | 0% | 4 | EA | 135 | 540
8 |  | 90.07:Remove Portion of Existing Exterior Gypsum Board,Metal Studs,Sheathing & Brick Veneer Wall | 339.96 | 0% | 339.96 | SF | 3 | 1019.88
9 |  | 90.08:Existing Exterior Slab to be Removed for Construction of New Footing & Brick Veneer Wall | 79 | 0% | 79 | SF | 12 | 948
10 |  | 90.09:Existing Exterior Slab to be Removed for Construction of infill Brick Veneer Wall | 34 | 0% | 34 | SF | 12 | 408
11 |  | 90.10:Remove Existing Faded Break Metal Surround | 15 | 0% | 15 | EA | 35 | 525
12 |  | 90.11:Remove Existing Exterior Gypsum Board Ceiling | 113 | 0% | 113 | SF | 5 | 565
13 |  | 90.12:Remove of Portion of Existing Slab for New Isolated Slab. | 107 | 0% | 107 | SF | 12 | 1284
14 |  | 90.13:Remove Portion of Existing Slab for New Trench Drain & Recessed Slab | 289 | 0% | 289 | SF | 12 | 3468
15 |  | 90.01:Remove Plumbing Fixtures along w/ Vanity Top,Connected Domestic Cold/hot Water Supply,Waste & Vent Piping & Prepare Existing Piping for Reconnections at New Location. | 4 | 0% | 4 | EA | 225 | 900
16 |  | 90.02:Remove Plumbing Fixtures along w/ Connected Domestic Cold/hot Water Supply,Waste & Vent Piping & Prepare Existing Piping for Reconnections at New Location. | 15 | 0% | 15 | EA | 175 | 2625
17 |  | Debris Disposal Allowance @ 33.33% of Demolition Cost | 1 | 0% | 1 | LS | 7000 | 7000